## Slide 1: CHE 392 CHEMICAL ENGINEERING LAB I
DATA ANALYSIS
Prof. Dr. N. Alper TAPAN
Dr. D. Dolunay ESLEK KOYUNCU
Dr. H. Mehmet TAŞDEMİR

## Slide 2: OUTLINE
SIGNIFICANT FIGURES IN EXPERIMENTAL DATA
STATISTICAL ANALYSIS OF EXPERIMENTAL DATA
TYPES OF ERRORS
DEGREE OF FREEDOM, CONFIDENCE INTERVAL
REFERENCES

## Slide 3: SIGNIFICANT FIGURES
Significant figures are digits showing a numerical value with proper accuracy and precision.
For instance ,The number of significant figures in 4521 and 6,784 are 4.
The number of significant figures in 0,006784 and 4521000 are also 4 . The number of zeros before 6 or after 1 are not related with precision .

## Slide 4: Some rules about significant figures
The number of significant figures in 4521000. are 7 because the dot (.) shows that the precision will change by the number following the dot (.)
Rounding of numbers and change in significant figures;
52.6502 52.7, 3.457  3.46 , 0.34648  0.346
73.135  73.14 , 48.724  48.72

## Slide 5: OPERATIONS IN SIGNIFICANT FIGURES
Addition and subraction: The precision is based on lowest number of significant figures.
32.7 +3.62+10.008=46.328 
Multiplication and division: Like addition or subraction , the result is rounded based on the lowest number of significant figures.
Significant figures 3
Significant figures 5
Significant figures 3
46.3

## Slide 6: STATISTICAL ANALYSIS OF EXPERIMENTAL DATA
Aritmetic Average, : division of sum of measurements to number of measurements
  : Value of each measurement .
N : # of measurements
Some important statistical terms;

## Slide 7
Median: The value in the middle when the data is sorted (ranked)from lowest to highest.
Mode: The most repating value in the data.
Range: the difference between the highest and the lowest value in the data.
Accuracy: the difference between the calculated average experimental value ( and the exact value ‘’µ’’ (
Accuracy can be shown as absolute or relative.
STATISTICAL ANALYSIS OF EXPERIMENTAL DATA

## Slide 8
For instance, the exact value of an experimental datum is = % 0,54 and by the repetitive experiments the average value is
= %0,49
Absolute accuracy= % 0,49-% 0,54= -% 0,05
Relative accuracy= (-% 0,05)/( % 0,54)= -% 0,09
STATISTICAL ANALYSIS OF EXPERIMENTAL DATA

## Slide 9
Certainity: The proximity of the experimental values; Certainity can be determined by;
Standard deviation
Relative standard deviation
Variance
Range
Error
Average error
Relative average error
STATISTICAL ANALYSIS OF EXPERIMENTAL DATA

## Slide 10: ? Accuracy = Certainity

## Slide 11
Standard deviation: Distribution of experimental data arround average value. The smaller the standard deviation higher the certainity. But this does not mean high accuracy. Most frequently used types of standard deviations;
Population standard deviation (
Sample standard deviation (s)
Composite standard deviation (scomposite)
STATISTICAL ANALYSIS OF EXPERIMENTAL DATA

## Slide 12
Population standard deviation;
Sample standard deviation(s)
s
STATISTICAL ANALYSIS OF EXPERIMENTAL DATA

## Slide 15
Composite standard deviation:
scomposite
, , : Average values of experiments by different analyzers from different data sets.
k: # of analyzers
STATISTICAL ANALYSIS OF EXPERIMENTAL DATA

## Slide 16
Example:
After fishing , 5 samples of fishes were dried and analyzed by atomic absorbtion spectroscopy (AAS) for mercury determination. Based on this experimental data determine the composite standard deviation.
STATISTICAL ANALYSIS OF EXPERIMENTAL DATA

## Slide 18
Variance: Square of standard deviation. In scientific studies variance is preferred for the expression of certainity.
s2=
Deviation: Difference between each experimental value and average value (d).
d=
STATISTICAL ANALYSIS OF EXPERIMENTAL DATA

## Slide 19
Average deviation: Division of sum of deviations by the number of experiments.
Relative average deviation: Division of average deviation by average value (
STATISTICAL ANALYSIS OF EXPERIMENTAL DATA

## Slide 20: TYPE OF ERRORS
Systematic errors (can be avoided)
Instrumental
Methodological
Personal
2. Random (can not be avoided)

## Slide 21: SYSTEMATIC ERRORS
Instrumental errors;
Bad calibration of instruments and unstabilities on power sources.
For instance , during titration the real values may be different from the readings on the burette or graduated pipette, flasks.
TYPE OF ERRORS

## Slide 22: RANDOM ERRORS
Errors that cannot be avoided.
Independent of the experience of the experimenter. Because of this, there are always some minor errors.
Random errors may be caused by experimenter or may be due to instrumentation or environmental conditions.
If we don’t know the exact value of error, we determine a range of experimental values by standard deviation or confidence interval.
TYPE OF ERRORS

## Slide 23
Non ideal chemical and physical behaviour of reactants or reactions during analysis cause errors.
Personnal errors are caused to the experimenter . For instance, inadequate washing of precipitate or false recording of data etc.
SOURCES OF TYPE OF ERRORS

## Slide 24
A confidence interval (CI) is a range of values that’s likely to include a population value with a certain degree of confidence. It is often expressed a % whereby a population means lies between an upper and lower interval.
A confidence interval, in statistics, refers to the probability that a population parameter will fall between two set values for a certain proportion of times. Confidence intervals measure the degree of uncertainty or certainty in a sampling method. A confidence interval can take any number of probabilities, with the most common being a 95% or 99% confidence level.
Confidence level refers to the percentage of probability, or certainty, that the confidence interval would contain the true population parameter when you draw a random sample many times.
DEGREE OF FREEDOM, CONFIDENCE LIMITS AND INTERVALS

## Slide 25
Q test method can be used to discard or accept a suspected experimental value. In this method , different confidence levels can be used , Q test is based on the selected confidence level.
DEGREE OF FREEDOM, CONFIDENCE LIMITS AND INTERVALS

## Slide 26
Table . Q values at different confidence levels
DEGREE OF FREEDOM, CONFIDENCE LIMITS AND INTERVALS

## Slide 27
Example: For the data shown below:
12.53, 12.56 , 12.47 , 12.67 , 12.48 , is 12.67 OK for 90% confidence interval ?
12.47, 12.48 , 12.53, 12.56,  difference = 0.11  12.67
Range= 0.20
Q = difference / range = 0.55 < Q(value in tablelo ) (keep the value)
If Q(observed)> Q(value in the table) value is thrown based on the confidence level given.
DEGREE OF FREEDOM, CONFIDENCE LIMITS AND INTERVALS

## Slide 28: DEGREE OF FREEDOM, CONFIDENCE LIMITS AND INTERVALS
Comparison of average ( and exact value(µ)
F-test: Comparison of two certainity
T-tests
G-tests: Grubbs tests
C-tests: Cochran tests
Some significance tests

## Slide 29: References
Harris, D.C., “Analytical Chemistry”, W.H. Freeman and Company, 42 , 1982.
Kreyzig, E., “Advanced Engineering Mathematics” , 8th edition, John Wiley and Sons Inc., 914 , 1999.
Bennett, C.A., Franklin, N.L., “Statistical Analysis in Chemistry and the Chemical Industry”, John Wiley and Sons Inc., 1967.
Mickley, H.S., Sherwood, T.K., and Reed, C.E., “Applied Mathematics in Chemical Engineering”, McGraw-Hill, 1957.
Reilly, P.M., “A Statistical Look at Significant Figures”, Chemical Engineering Education”, summer issue, 152-155,1992.
Schwatz, L.M., “Propagation of Significant Figures”, Journal of Chemical Engineering Education., 62(8) , 693 , 1985.
Garland, C.W., Nibler, J.W., “Experiments in Physical Chemistry” ,7th edition, McGraw-Hill, 2003
Usanmaz, A., “Quantitative Analytical Chemistry”, Middle East Technical University, 1991.
Gündüz, T., ‘’Kimyacılar için İstatistik’’, 2. Baskı, Gazi Kitap evi, 2010
Skoog, D.A., West, D.M., Holler, F.J., ‘’Analitik Kimya Temelleri’’, Editör: E.Kılıç, F. Köseoğlu, 7. Baskı, Bilim Yayıncılık, 1997.