DOUBLE PIPE HEAT EXCHANGER

Aim:

The study of the working principle and performance of the homocentric, double tube heat exchanger at parallel flow and reverse flow conditions. The effect of the inlet temperature of the hot stream on the efficiency and the effect of the flow rate of cold flow on the reverse current conditions will be examined.

Experimental method:

Hot water inlet temperature is THg= 50 °C, Hot water flow rate is mH/ρH = 2000 mL/min,  cold water flow rate is mC/ρC = 1000 mL/min, The following data will be retrieved when the system is operated in the same direction and reverse.

Datas:

B. Under conditions of reverse flow and hot water flow rate mH/ρH = 2000 mL/min,  cold water flow rate is mC/ρC =2000 mL/min, the following data will be retrieved  after the system reaches steady state  by changing the inlet temperature of hot water.

Datas: