## Slide 1: Investigating the Effects of Selecting Different Slack Bus on Power Systems
ABSTRACT –A load-flow study is a numerical analysis of the flow of electric power in an interconnected system in power engineering. Simplified notation such as one-line diagram and per-unit system are used power-flow study and focuses on various features of AC power parameters, such as voltages, voltage angles, real power and reactive power. It analyzes the power systems in normal steady-state operation. So, the load flow studies play a major role in analyzing of the power systems. Generally, power system buses are categorized into three classes named load bus, power grid bus and slack bus or swing bus. In fact, slack buses in power system are chosen among PV buses and also voltage value and phase angle of slack buses must be set 1 and 0, respectively. In this study, analysis of power flow was performed on six bus bar system using Gauss Seidel method. The study analyze the change of effects that come from choosing different slack buses to determine the critical stress points, voltage stability, in the multi-bus systems. At the beginning of the each power flow analysis, different busses which have generator were determined as the slack bus and the analysis was performed without increasing the load. The effects of changes in critical points were examined at the end of the all analysis.
Index Terms– lood flow, criticals points, different slack buses, voltage stability
SIMULATION RESULTS
Power flow analysis was accomplished by relying on Gauss-Seidel method. Slack bus was chosen for other buses without any changes in the loads of the system and power flow analysis was fulfilled again for each of them.
All effects were testified in terms of voltage stability in the critical stress points.
Studies have shown that the load flow equations have multiple solutions and voltage stability is closely related to these multiple solutions. According to the results, the system is charged the critical differences between the values of power swing bars seems to cause a greater change. It is obvious, when the power differences increase, change of critical values would be more. Therefore, the determination of critical points in the voltage stability analysis must be taken into account the effect of the oscillation bars which will be chosen. Obtained data show that if active and reactive powers are equal to each other, critical bus had minimum effect on choosing different buses.
CONCLUSIONS
Murthy, S. S., Jha, C. S., and PS Nagendra Rao.: ‘Analysis of grid connected induction generators driven by hydro/wind turbines under realistic system constraints’. Energy Conversion, IEEE Transactions on 5.1 , 1990.
A. Momoh, M. E. El-Hawary, and R. Adapa. A review of selected optimal power flow literature to 1993. Part I: Nonlinear and quadratic programming approaches. IEEE Transactions on Power Systems, 14(1):96-104, 1999.
K. S. Pandya and S. K. Joshi. A survey of optimal power flow methods. Journal of Theoretical and Applied Information Technology, 4(5):450-458, 2008.
In this study, Power Flow is analyzed by Gauss-Seidel method. The difference is to examine the change of slack buses and to find the unstable point with the aid of this change. In the method, as seen in Figure 2, different slack buses were set for every different start of power flow analysis and voltage stability analysis was made by increasing the load each time. Every analysis was examined for the effects of changes in critical points.
The easiest way to stabilize the voltage is the static load flow analysis. Finding the critical points is very important for planning and controlling the system. The system has been tested according to 3 different scenarios. The system has 6 buses and each time a different bus is selected as the slack bus (bus 1, 2 and 3). So it is possible to obtain the change effects.
Six Bus Power System
Asghar Sabati, Ramazan Bayindir
Department of Electrical & Electronics Eng, Faculty of Technology, Gazi University Ankara, Turkey.
asghar.sabati@gmail.com ; bayindir@gazi.edu.tr